Legionella 
The bacterium Legionella pneumophila and related bacteria are common in natural water sources such as rivers, lakes and reservoirs, but usually in low numbers. They may also be found in purpose-built water systems such as cooling towers, evaporative condensers, hot and cold water systems and spa pools.

Legionella pneumophila can cause serious bacterial infections known as Legionnaires disease. Some symptoms of legionnaires infection are fever, shortness of breath, cough, and muscle aches. Legionnaires is very serious and usually involves hospitalization or can even result in death. People can get Legionnaires' disease or Pontiac fever when they breathe in small droplets of water in the air that contain the bacteria. Less commonly, people can get sick by aspiration of drinking water containing Legionella. This happens when water accidently goes into the lungs while drinking.

Main Areas to cover: Water Tanks, Cooling Towers & Air-conditioning systems 
Problem: After cleaning with Hydrogen Peroxide (h2O2) – YenWater?, takes 14days to check if bacteria is present. 
Proposed solution: Reduce to 1 day,

Either

- Bring samples in then we test for them

- Train them to use the test kit, bring machine there.

- Legionella (airborne)

- E. Coli. (Total Plate Count (TPC))

- ISO Certification ISO 11731:2017??  https://www.iso.org/obp/ui/#iso:std:iso:11731:ed-2:v1:en

Total Plate Count (TPC) is a method of estimating the total number of microorganisms (mold, yeast, bacteria) in a material.

To think about:

- Develop Assays

- PCR

- dPCR

- Lamp

- Sample Prep

  - From water

    - Swab

    - Water Collection (Glass toppered bottle)

  - From Air

- Live Bacteria

  - Determine whether bacteria detected is viable or not

https://www.researchgate.net/publication/226128720_Detection_and_Quantification_of_Bacteria_and_Fungi_Using_Solid-Phase_Cytometry (Solid-Phase Cytometry)

*think about if there could be other bacteria present in these water bodies – microflora ?
https://www.sciencedirect.com/science/article/pii/S0043135419303367#:~:text=Other%20opportunistic%20bacterial%20pathogens%20detected,Ceyhan%20and%20Ozdemir%2C%202008).

https://www.suezwatertechnologies.com/handbook/chapter-26-microbiological-control-cooling-system#MICROBIOLOGY%20OF%20COOLING%20WATER

https://www.novatx.com/antimicrobial-testing/7-examples-of-harmful-bacteria-found-in-water/

**20 C but less than 55 C must be considered potential sources for the growth of Legionella bacteria.**

2- Sample Prep

Water Collection

Aquadien DNA Extraction and Purification Kit  water samples, aerosols, and biofilms

https://www.bio-rad.com/en-sg/product/aquadien-dna-extraction-purification-kit?ID=LS5I59IVK

https://www.qiagen.com/us/products/discovery-and-translational-research/dna-rna-purification/dna-purification/microbial-dna/dneasy-powerwater-kit/

https://www.sis.se/api/document/preview/921838/

Sampling Procedures

https://www.cdc.gov/legionella/downloads/cdc-sampling-procedure.pdf

Extra Read: 
https://www.ncbi.nlm.nih.gov/pmc/articles/PMC6787354/

Swab

https://www.process-cooling.com/articles/89404-testing-cooling-tower-water-for-total-bacteria-and-legionella --> stainless steel wire-mesh biofilm

Aerosol
Impactor & Impinger … article in my phone

Impactors, impingers, and cyclone samplers
Impactor  Impactors usually utilize moisture-containing agar plates to collect and culture airborne bacteria
Impinger  Deionized (DI) water and phosphate-buffered saline (PBS) are commonly used in impingers as sampling media

https://reader.elsevier.com/reader/sd/pii/S2221169117300436?token=B0FB8742CB6DFD465E9AD28AFE2DBCDF9385BB1E7567D3AC6CAC5544337AFFE3FAF1B9CB41EC862086DB4B811936C5B4&originRegion=eu-west-1&originCreation=20220407193958

- Culture, Rate of isolation is pretty low

- Water samples were pretreated using acid treatment followed by concentration and culture on buffered charcoal yeast extract agar (BCYE).

- “”Currently there are no successful attempts and established methods available to isolate Legionella followed by characterization, directly from water samples. Till today no scientific reports available on antibiotic profile of Legionella isolates from water bodies”” 2017

https://www.ncbi.nlm.nih.gov/pmc/articles/PMC5326485/ (Legionella spp.)

- Concentrated by filtration

- Acid & Heat treated for selected inhibition of non-Legionella bacteria.

- Plated into BCYE Agar medium, incubated in candle jar for 4-14days

- Suspected colonies were subcultured on BCYE agar with and without L-cysteine and non-selective media, such as sheep-blood agar and MacConky agar for verification. Isolates which grew on BCYE agar with L. cysteine, but not on the other media, were considered supposed Legionella.

- To extract the DNA, freshly grown bacterial colonies from solid media (BCYE agar plates) were suspended in 100 μl of deionized sterile water in an ependorf tube, gently vortexed and frozen in liquid nitrogen and heated in boiling water three times. The DNA was further extracted and purified using Promega DNA Extraction Kit (Promega Wizard® Genomic DNA Purification Kit, Madison, USA) according to manufacturer’s instructions.

https://www.ncbi.nlm.nih.gov/pmc/articles/PMC243889/pdf/aem00198-0132.pdf

- Filter

- Grown on BCYE also

Detection Limit : 
https://www.sfa.gov.sg/docs/default-source/food-retailing/practices-and-guidelines/code-of-practice-on-drinking-water-sampling-and-safety-plans-sfa-apr-2019.pdf

https://www.process-cooling.com/articles/89404-testing-cooling-tower-water-for-total-bacteria-and-legionella

https://www.hse.gov.uk/pubns/guidance/oce15.pdf

https://sso.agc.gov.sg/SL-Supp/S37-2001/Published/20020131?DocDate=20010122#:~:text=a%20legionella%20bacteria%20count%20that,colony%2Dforming%20units%20per%20millilitre.&text=provided%20with%20easy%20and%20safe,water%20required%20under%20these%20Regulations.

https://sso.agc.gov.sg/SL-Supp/S37-2001/Published/20020131?DocDate=20010122#:~:text=a%20legionella%20bacteria%20count%20that,colony%2Dforming%20units%20per%20millilitre.&text=provided%20with%20easy%20and%20safe,water%20required%20under%20these%20Regulations.