## Matrix Samples
20221128 | Matrix Sample |  |  |  | Selected Data
E lysis |  | FAM | HEX |  | E lysis |  | FAM | HEX
Volume (mL) | Position | Run 1 | Run 1 |  | Volume (mL) | Position | Run 1 | Run 1
|  | Rep 1 (ct) | Rep 1 (ct) |  |  |  | Rep 1 (ct) | Rep 1 (ct)
300mL | 1/6 Cup | 30.47 | 27.73 |  | 300mL |  | 32.6767 | 29.98
| 2/6 Cup | 32.94 | 30.25 |  | 50mL | 50mL Falcon Tube | 30.09 | 28.26
| 3/6 Cup | 32.94 | 30.62
| 4/6 Cup | 31.91 | 29.06
| 5/6 Cup | 32.15 | 29.07
| 6/6 Cup | 31.99 | 29.19
| Single Funnel | 31.21 | 28.17
50mL | 50mL Falcon Tube | 30.09 | 28.26
E lysis |  | FAM | HEX |  | E lysis |  | FAM | HEX
Volume (mL) | Position | Run 1 | Run 1 |  | Volume (mL) | Position | Run 1 | Run 1
|  | Rep 2 (ct) | Rep 2 (ct) |  |  |  | Rep 1 (ct) | Rep 1 (ct)
300mL | 1/6 Cup | 31.46 | 28.53 |  | 300mL |  | 32.655 | 30.085
| 2/6 Cup | 32.98 | 30.34 |  | 50mL | 50mL Falcon Tube | 30.28 | 28.65
| 3/6 Cup | 34.04 | 31.87
| 4/6 Cup | 34.88 | 32.38
| 5/6 Cup | 32.33 | 29.83
| 6/6 Cup | 30.88 | 27.97
| Single Funnel | 30.91 | 28.16
50mL | 50mL Falcon Tube | 30.28 | 28.65
20221213
E lysis |  | FAM | HEX
Volume (mL) | Position | Run 1 Rep 1 (ct) | Run 1 Rep 1 (ct) |  | E lysis |  | FAM | HEX
300mL | 1/6 Cup | 35.505 | 34.27 |  | Volume (mL) | Position | Run 1 | Run 1
| 2/6 Cup | 30.72 | 28.78 |  |  |  | Rep 1 (ct) | Rep 1 (ct)
| 3/6 Cup | 29.24 | 27.21 |  | 300mL |  | 35.4575 | 33.765
| 4/6 Cup | 30.36 | 27.88 |  | 50mL | 50mL Falcon Tube | 31.36 | 30.11
| 5/6 Cup | 34.87 | 34.86
| 6/6 Cup | 32.76 | 31.2
| Single Funnel | 35.41 | 33.26
50mL | 50mL Falcon | 31.36 | 30.11
300ml - 3/7 is better than 50ml
E lysis |  | FAM | HEX |  | E lysis |  | FAM | HEX
Volume (mL) | Position | Run 1 Rep 2 (ct) | Run 1 Rep 2 (ct) | x | Volume (mL) | Position | Run 1 | Run 1
300mL | 1/6 Cup | 35.4 | 34.01 |  |  |  | Rep 1 (ct) | Rep 1 (ct)
| 2/6 Cup | 34.28 | 32.22 |  | 300mL |  | 35.205 | 32.335
| 3/6 Cup | 30.32 | 27.54 |  | 50mL | 50mL Falcon Tube | 32 | 30.45
| 4/6 Cup | 29.8 | 27.37
| 5/6 Cup | 31.22 | 28.8
| 6/6 Cup | 29.81 | 27.66
| Single Funnel | 35.01 | 30.66
50mL | 50mL Falcon | 32 | 30.45
300ml - 4/7 is better than 50ml
20221214
E lysis |  | FAM |  | HEX
Volume (mL) | Position | Run 1 Rep 1 (ct) | Run 1 Rep 2 (ct) | Run 1 Rep 1 (ct) | Run 1 Rep 2 (ct)
300mL | 1/6 Cup | 30.08 | NA | 27.175 | NA
| 2/6 Cup | 29.985 | NA | 27.045 | NA
| 3/6 Cup | 30.5 | NA | 27.245 | NA
| 4/6 Cup | 29.365 | NA | 26.2 | NA
| 5/6 Cup | 32.355 | NA | 29.355 | NA
| 6/6 Cup | 29.4 | NA | 26.335 | NA
| Single Funnel | 30.06 | NA | 26.505 | NA
50mL | 50mL Falcon | 31.215 | 31.525 | 29.21 | 29.56
300ml - 6/7 is better than 50ml

## Matrix Samples (2)
Matrix Sample
|  | 20221128 |  | 20221213 |  | 20221214
E lysis |  | FAM
Volume (mL) | Position | Run 1 Rep 1 (ct) | Run 1 Rep 2 (ct) | Run 1 Rep 1 (ct) | Run 1 Rep 2 (ct) | Run 1 Rep 1 (ct) | Run 1 Rep 2 (ct) | Target: mipT1 - FAM
[8 empty] | Volume (mL) | Position | Average ct | Standard D. | RSD | RSD % | Volume (mL) | Average ct | Standard D. | RSD | RSD %
300mL | 1/6 Cup | 30.47 | 31.46 | 35.505 | 35.4 | 30.08 | NA | 300mL | 1/6 Cup | 32.583 | 2.6676 | 0.081871 | 8.1871 | 300mL | 31.9297 | 1.9704 | 0.061709 | 6.1709
| 2/6 Cup | 32.94 | 32.98 | 30.72 | 34.28 | 29.985 | NA |  | 2/6 Cup | 32.181 | 1.7732 | 0.055101 | 5.5101 | 50mL | 30.989 | 0.794 | 0.025622 | 2.5622
| 3/6 Cup | 32.94 | 34.04 | 29.24 | 30.32 | 30.5 | NA |  | 3/6 Cup | 31.408 | 1.9989 | 0.063644 | 6.3644
| 4/6 Cup | 31.91 | 34.88 | 30.36 | 29.8 | 29.365 | NA |  | 4/6 Cup | 31.263 | 2.2394 | 0.071631 | 7.1631 | 300mL | 32.52 | 2.4956 | 0.07674 | 7.674 | Only Single Funnel
| 5/6 Cup | 32.15 | 32.33 | 34.87 | 31.22 | 32.355 | NA |  | 5/6 Cup | 32.585 | 1.3594 | 0.041718 | 4.1718
| 6/6 Cup | 31.99 | 30.88 | 32.76 | 29.81 | 29.4 | NA |  | 6/6 Cup | 30.968 | 1.4198 | 0.045847 | 4.5847
| Single Funnel | 31.21 | 30.91 | 35.41 | 35.01 | 30.06 | NA |  | Single Funnel | 32.52 | 2.4956 | 0.07674 | 7.674
50mL | 50mL Falcon Tube | 30.09 | 30.28 | 31.36 | 32 | 31.215 | 31.525 | 50mL | 50mL Falcon Tube | 30.989 | 0.794 | 0.025622 | 2.5622
|  | Average | Standrd D. | RSD | RSD %
6-Funnel | Exp 1 | 32.0667 | 0.90688 | 0.028281 | 2.8281
| Exp 2 | 32.7617 | 1.5225 | 0.046473 | 4.6473
| Exp 3 | 32.2425 | 2.557 | 0.079307 | 7.9307
| Exp 4 | 31.805 | 2.433 | 0.076497 | 7.6497
| Exp 5 | 30.2808 | 1.1039 | 0.036454 | 3.6454
E lysis |  | HEX
Volume (mL) | Position | Run 1 Rep 1 (ct) | Run 1 Rep 2 (ct) | Run 1 Rep 1 (ct) | Run 1 Rep 2 (ct) | Run 1 Rep 1 (ct) | Run 1 Rep 2 (ct) | Target: 16S - HEX
[8 empty] | Volume (mL) | Position | Average ct | Standard D. | RSD | RSD % | Volume (mL) | Average ct | Standard D. | RSD | RSD %
300mL | 1/6 Cup | 27.73 | 28.53 | 34.27 | 34.01 | 27.175 | NA | 300mL | 1/6 Cup | 30.343 | 3.5007 | 0.11537 | 11.537 | 300mL | 29.3929 | 2.3717 | 0.080689 | 8.0689
| 2/6 Cup | 30.25 | 30.34 | 28.78 | 32.22 | 27.045 | NA |  | 2/6 Cup | 29.727 | 1.9335 | 0.065043 | 6.5043 | 50mL | 29.336 | 0.93332 | 0.031815 | 3.1815
| 3/6 Cup | 30.62 | 31.87 | 27.21 | 27.54 | 27.245 | NA |  | 3/6 Cup | 28.897 | 2.1923 | 0.075865 | 7.5865
| 4/6 Cup | 29.06 | 32.38 | 27.88 | 27.37 | 26.2 | NA |  | 4/6 Cup | 28.578 | 2.3606 | 0.0826 | 8.26 | 300mL | 29.351 | 2.6413 | 0.089992 | 8.9992 | Only Single Funnel
| 5/6 Cup | 29.07 | 29.83 | 34.86 | 28.8 | 29.355 | NA |  | 5/6 Cup | 30.383 | 2.5316 | 0.083323 | 8.3323
| 6/6 Cup | 29.19 | 27.97 | 31.2 | 27.66 | 26.335 | NA |  | 6/6 Cup | 28.471 | 1.8327 | 0.064372 | 6.4372
| Single Funnel | 28.17 | 28.16 | 33.26 | 30.66 | 26.505 | NA |  | Single Funnel | 29.351 | 2.6413 | 0.089992 | 8.9992
50mL | 50mL Falcon Tube | 28.26 | 28.65 | 30.11 | 30.45 | 29.21 | 29.56 | 50mL | 50mL Falcon Tube | 29.336 | 0.93332 | 0.031815 | 3.1815

## Others
20221122 - Lvl 7 F Tap ONLY HEX
E lysis |  | FAM | HEX
Volume (mL) | Position | Run 1 (ct) | Run 1 (ct)
300mL | Single Funnel | - | 30.49
50mL | 50mL Falcon | - | 29.72
20221202 - Yan Sample (BEVERAGE COUNTER (ICE DISPENSER))
E lysis |  | FAM | HEX | TEX
Volume (mL) | Position | Run 1 (ct) | Run 1 (ct) | Run 1 (ct)
300mL | Single Funnel | 34.6 | 31.385 | 35.455
50mL | 50mL Falcon | 34.335 | 30.79 | 35.44

## PCR VS Culture
|  | GIS PCR DATA |  |  | GIS Calculated DATA |  |  |  | Eurofins DATA
| Sample Name | Ct value All Legionella | Ct value Sg 1 | Ct value Sg 1-15 | All Legionella copies/ml | Sg 1 copies/ml | Sg 1-15 copies/ml | Sg 2-15 copies/ml | All Legionella cfu/ml | Sg 1 cfu/ml | Sg 2-15 cfu/ml
No. |  | HEX | Texas Red | FAM | HEX | Texas Red | FAM
1 | EQUIPMENT STORE | 33.04 | N/A | 36.82 | 1.9236 | 0.14026 | N/A | 1.7833 | <0.01 | 3 | <0.01
2 | PROD WASH AREA-1 | 27.595 | 32.925 | 32.195 | 83.5978 | 3.454 | 2.0831 | 80.1439 | <0.01 | 2 | <0.01
3 | PROD WASH AREA-2 | 29.29 | 35.53 | 33.58 | 25.8385 | 1.3233 | 0.34278 | 24.5152 | <0.01 | 3 | <0.01
4 | PROD WASH AREA-3 | 31.555 | 36.08 | 37.23 | 5.381 | 0.10558 | 0.23418 | 5.2754 | <0.01 | 3 | <0.01
5 | MAIN KITCHEN COUNTER-1 | 28.93 | 36.38 | 34.385 | 33.1566 | 0.75766 | 0.19024 | 32.399 | <0.01 | 2 | <0.01
6 | MAIN KITCHEN COUNTER-2 | 29.405 | 34.03 | 33.365 | 23.86 | 1.5358 | 0.96889 | 22.3242 | <0.01 | 2 | <0.01
7 | MAIN KITCHEN STOVE-1 | 33.73 | N/A | 35.6 | 1.1927 | 0.32655 | N/A | 0.86614 | <0.01 | 2 | <0.01
8 | MAIN KITCHEN STOVE-2 | 30.465 | 36.125 | 34.625 | 11.4493 | 0.64161 | 0.22699 | 10.8076 | <0.01 | <0.01 | <0.01
9 | PASTRY AREA-1 | 30.935 | 35.625 | 33.41 | 8.2676 | 1.4887 | 0.32095 | 6.779 | <0.01 | 2 | <0.01
10 | PASTRY AREA-2 | 30.175 | 34.7 | 33.3 | 13.9966 | 1.6065 | 0.60913 | 12.39 | <0.01 | 2 | <0.01
11 | MAIN KITCHEN NEAR CHILLER-1 | 29.185 | 34.35 | 33.42 | 27.7879 | 1.4784 | 0.77626 | 26.3095 | <0.01 | 3 | <0.01
12 | MAIN KITCHEN NEAR CHILLER-2 | 30.955 | 34.32 | 33.895 | 8.1539 | 1.0639 | 0.79256 | 7.09 | <0.01 | 2 | <0.01
13 | MAIN KITCHEN POINT | 28.98 | 34.4 | 33.975 | 32.0279 | 1.0065 | 0.74983 | 31.0214 | <0.01 | 2 | <0.01
14 | MICRO KITCHEN SINK | 29.2 | 31.74 | 31.15 | 27.5007 | 7.1236 | 4.7337 | 20.377 | <0.01 | 3 | <0.01
15 | MOTHER CARE ROOM | 28.38 | 30.605 | 30.15 | 48.5326 | 14.2411 | 10.3911 | 34.2915 | <0.01 | 2 | <0.01
16 | BEVERAGE COUNTER (ICE DISPENSER) | 26.37 | 31.575 | 30.545 | 195.3111 | 10.832 | 5.3069 | 184.4791 | <0.01 | <0.01 | <0.01
17 | SHOWER MALE | 30.23 | 38.17 | 34.41 | 13.4733 | 0.74465 | 0.055054 | 12.7287 | <0.01 | <0.01 | <1
1 | L8 TapWater (Female) - GS 001 | 28.44 | 30.665 | 30.48 | 46.5568 | 9.968 | 11.3309 | 36.5888 | 16 | N/A | N/A
2 | L7 Shower (Female) - GS 002 | 26.65 | 29.1 | 28.66 | 160.8759 | 29.4732 | 39.9759 | 131.4027 | 8 | N/A | N/A
3 | Matrix - GS 003 | 29.02 | N/A | 30.03 | 31.1526 | N/A | 15.4755 | 31.1526 | <0.4 | N/A | N/A
4 | Koi Pond - GS 004 | 24.96 | 36.52 | 32.46 | 518.6981 | 0.17265 | 2.8747 | 518.5254 | 12 | N/A | N/A
5 | NC (MiliQ) - GS 005 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | <0.4 | N/A | N/A
6 | Water dispenser L7 (new) - GS 006 | 36.98 | N/A | N/A | 0.12554 | N/A | N/A | 0.12554 | <0.4 | N/A | N/A
7 | Spiked in E.coli in NC(MiliQ) - GS 007 | 39.32 | N/A | N/A | 0.024821 | N/A | N/A | 0.024821 | <0.4 | N/A | N/A

## PCR VS Culture (2)
|  | GIS PCR DATA |  |  | GIS Calculated DATA |  |  |  | Eurofins DATA
| Sample Name | Ct value All Legionella | Ct value Sg 1 | Ct value Sg 1-15 | All Legionella copies/ml | Sg 1 copies/ml | Sg 1-15 copies/ml | Sg 2-15 copies/ml | All Legionella cfu/ml | Sg 1 cfu/ml | Sg 2-15 cfu/ml
No. |  | HEX | Texas Red | FAM | HEX | Texas Red | FAM
1 | EQUIPMENT STORE | 33.04 | N/A | 36.82 | 1.9236 | 0 | 0.14026 | 0.14026 | <0.01 | 3 | <0.01
2 | PROD WASH AREA-1 | 27.595 | 32.925 | 32.195 | 83.5978 | 2.0831 | 3.454 | 1.3709 | <0.01 | 2 | <0.01
3 | PROD WASH AREA-2 | 29.29 | 35.53 | 33.58 | 25.8385 | 0.34278 | 1.3233 | 0.98051 | <0.01 | 3 | <0.01
4 | PROD WASH AREA-3 | 31.555 | 36.08 | 37.23 | 5.381 | 0.23418 | 0.10558 | -0.1286 | <0.01 | 3 | <0.01
5 | MAIN KITCHEN COUNTER-1 | 28.93 | 36.38 | 34.385 | 33.1566 | 0.19024 | 0.75766 | 0.56742 | <0.01 | 2 | <0.01
6 | MAIN KITCHEN COUNTER-2 | 29.405 | 34.03 | 33.365 | 23.86 | 0.96889 | 1.5358 | 0.56691 | <0.01 | 2 | <0.01
7 | MAIN KITCHEN STOVE-1 | 33.73 | N/A | 35.6 | 1.1927 | 0 | 0.32655 | 0.32655 | <0.01 | 2 | <0.01
8 | MAIN KITCHEN STOVE-2 | 30.465 | 36.125 | 34.625 | 11.4493 | 0.22699 | 0.64161 | 0.41462 | <0.01 | <0.01 | <0.01
9 | PASTRY AREA-1 | 30.935 | 35.625 | 33.41 | 8.2676 | 0.32095 | 1.4887 | 1.1677 | <0.01 | 2 | <0.01
10 | PASTRY AREA-2 | 30.175 | 34.7 | 33.3 | 13.9966 | 0.60913 | 1.6065 | 0.9974 | <0.01 | 2 | <0.01
11 | MAIN KITCHEN NEAR CHILLER-1 | 29.185 | 34.35 | 33.42 | 27.7879 | 0.77626 | 1.4784 | 0.70213 | <0.01 | 3 | <0.01
12 | MAIN KITCHEN NEAR CHILLER-2 | 30.955 | 34.32 | 33.895 | 8.1539 | 0.79256 | 1.0639 | 0.27131 | <0.01 | 2 | <0.01
13 | MAIN KITCHEN POINT | 28.98 | 34.4 | 33.975 | 32.0279 | 0.74983 | 1.0065 | 0.25669 | <0.01 | 2 | <0.01
14 | MICRO KITCHEN SINK | 29.2 | 31.74 | 31.15 | 27.5007 | 4.7337 | 7.1236 | 2.3899 | <0.01 | 3 | <0.01
15 | MOTHER CARE ROOM | 28.38 | 30.605 | 30.15 | 48.5326 | 10.3911 | 14.2411 | 3.85 | <0.01 | 2 | <0.01
16 | BEVERAGE COUNTER (ICE DISPENSER) | 26.37 | 31.575 | 30.545 | 195.3111 | 5.3069 | 10.832 | 5.5251 | <0.01 | <0.01 | <0.01
17 | SHOWER MALE | 30.23 | 38.17 | 34.41 | 13.4733 | 0.055054 | 0.74465 | 0.6896 | <0.01 | <0.01 | <1
1 | L8 TapWater (Female) - GS 001 | 28.44 | 30.665 | 30.48 | 46.5568 | 9.968 | 11.3309 | 1.3629 | 16 | N/A | N/A
2 | L7 Shower (Female) - GS 002 | 26.65 | 29.1 | 28.66 | 160.8759 | 29.4732 | 39.9759 | 10.5027 | 8 | N/A | N/A
3 | Matrix - GS 003 | 29.02 | N/A | 30.03 | 31.1526 | 0 | 15.4755 | 15.4755 | <0.4 | N/A | N/A
4 | Koi Pond - GS 004 | 24.96 | 36.52 | 32.46 | 518.6981 | 0.17265 | 2.8747 | 2.7021 | 12 | N/A | N/A
5 | NC (MiliQ) - GS 005 | N/A | N/A | N/A | N/A | N/A | N/A | #VALUE! | <0.4 | N/A | N/A
6 | Water dispenser L7 (new) - GS 006 | 36.98 | N/A | N/A | 0.12554 | N/A | N/A | #VALUE! | <0.4 | N/A | N/A
7 | Spiked in E.coli in NC(MiliQ) - GS 007 | 39.32 | N/A | N/A | 0.024821 | N/A | N/A | #VALUE! | <0.4 | N/A | N/A

## Sheet1
No. | Sample Name | GIS Calculated DATA |  | Eurofins DATA
|  | Sg 1 copies/ml | Sg 2-15 copies/ml | Sg 1 cfu/ml | Sg 2-15 cfu/ml
1 | EQUIPMENT STORE | 0 | 0.14026 | 3 | <0.01
2 | PROD WASH AREA-1 | 2.0831 | 1.3709 | 2 | <0.01
3 | PROD WASH AREA-2 | 0.34278 | 0.98051 | 3 | <0.01
4 | PROD WASH AREA-3 | 0.23418 | -0.1286 | 3 | <0.01
5 | MAIN KITCHEN COUNTER-1 | 0.19024 | 0.56742 | 2 | <0.01
6 | MAIN KITCHEN COUNTER-2 | 0.96889 | 0.56691 | 2 | <0.01
7 | MAIN KITCHEN STOVE-1 | 0 | 0.32655 | 2 | <0.01
8 | MAIN KITCHEN STOVE-2 | 0.22699 | 0.41462 | <0.01 | <0.01
9 | PASTRY AREA-1 | 0.32095 | 1.1677 | 2 | <0.01
10 | PASTRY AREA-2 | 0.60913 | 0.9974 | 2 | <0.01
11 | MAIN KITCHEN NEAR CHILLER-1 | 0.77626 | 0.70213 | 3 | <0.01
12 | MAIN KITCHEN NEAR CHILLER-2 | 0.79256 | 0.27131 | 2 | <0.01
13 | MAIN KITCHEN POINT | 0.74983 | 0.25669 | 2 | <0.01
14 | MICRO KITCHEN SINK | 4.7337 | 2.3899 | 3 | <0.01
15 | MOTHER CARE ROOM | 10.3911 | 3.85 | 2 | <0.01
16 | BEVERAGE COUNTER (ICE DISPENSER) | 5.3069 | 5.5251 | <0.01 | <0.01
17 | SHOWER MALE | 0.055054 | 0.6896 | <0.01 | <1