| Design History File No. | Document Type | GIS Document Number | SOP Attached |
| --- | --- | --- | --- |
| Project Name/ID | Project Leader | Co-Project Leader | Principal Contact (Customer) |

Method Validation Report

Approved by

______________________________		______________________________		_______________

Printed Name/Designation/Signature		Representing Company		             		Date

______________________________		______________________________		_______________

Printed Name/Designation/Signature		Representing Company		             		Date

| Revision Number | Revision Date | Revision Description | Revision Author |
| --- | --- | --- | --- |

Table of Contents

1.0	PROJECT DETAILS AND PURPOSE OF APPLICATION	3

2.0	SCOPE	3

3.0	MATERIALS	3

3.1	RESOURCES	3

3.2	EQUIPMENT	3

3.3.1	REAGENTS	4

3.3.2	SAMPLES	4

3.3.3	REFERENCE MATERIALS	5

4.0	RAW DATA	5

5.0	RESULT ANALYSIS AND DISCUSSION	6

6.0	CONCLUSION	6

7.0	DEVIATION HANDLING	6

8.0	APPENDIX	6

# 1.0	PROJECT DETAILS AND PURPOSE OF APPLICATION

[State the objective of executing this project.]

Legionella is the waterborne bacteria responsible for the deadly Legionnaire’s Disease. Many industries use water in production processes or in the workplace which can harbor this bacteria. Monitoring water sources is therefore critical to lower the risk towards public health. While there are commercially available tests to confirm the presence of Legionella, we have developed a workflow that requires lesser time and a simplified water preparation step for Legionella detection.

According to ISO 11731:2017(E), the recommended method for the isolation and quantification of legionella in water samples is through culture. In their guidelines, filtration with a membrane is used to concentrate the bacteria whereas our developed method uses only centrifugation. The data shown below will exhibit the comparison between centrifugation and filtration. 300ml and 50ml of water samples will be used for filtration and centrifugation respectively.

# 2.0	SCOPE

[Provide a brief introduction of what the project relates to and indicate customer’s requirement.]

# 3.0	MATERIALS

## 3.1	RESOURCES

[Human Resource and facilities involved in project planning, execution, report, documentation, etc. 			Depending on the requirements and nature of the study to be performed, special requirements may be 			required to state which operator is performing which run.]

### 3.1.1	Group Leader

He/she shall ensure that all resources are available, staff is trained to the requirements stated before conducting laboratory work in the designated laboratories.

### 3.1.2	Project Leader

The Project Leader is responsible to coordinate and liaise all incoming and/or outgoing project related samples with third parties and ensure that the project team and visitors (if any) comply with the requirements stated in this document. He/She is the key contact person to monitor and record the usage of the samples. He/She should ensure that all operators are well trained and competent.

### 3.1.3 	Laboratory Room In-Charge/Key Owner

The Laboratory Room In-Charge shall maintain storage facilities to the requirements stated in this document. He/She is also responsible to manage the Sample Storage Keys, and document required records accordingly.

## 3.2	EQUIPMENT

| Equipment Name | Serial No. | Location |
| --- | --- | --- |
| 4°C Refrigerator, EKObasic Sample Prep | 410000006394 | Sample Prep Room |
| BSC, Thermo Scientific 1300 Series A2 Class II | 410000006368 |  |
| Pipette - 1000 µL | Z62758L |  |
| Pipette - 200 µL | X53249D |  |
| Pipette - 20 µL | W64416E |  |
| Pipette - 10 µL | W56221H |  |
| Heat block, Thermomixer Comfort with shaking | 410000005616 |  |
| Vortex Mixer, Corning 6777 | S2030218 |  |
| Electronic Pipette Gun | NA |  |
| Filtration Unit | N/A |  |
| Vacuum Pump | N/A |  |
| BioRad CFX96 | BR200728 | Instruments Room |
| Microplate Centrifuge | TT-E14-1132 |  |
| Picofuge | NA | Template Addition Room (TA) |
| PCR Cabinets | 419000003199 |  |
| 4°C Fridges | 410000006283 |  |
| -20°C Freezers | 410000006284 |  |
| Pipette - 1000 µL | C006992352 |  |
| Pipette - 200 µL | C006993052 |  |
| Pipette - 20 µL | OZ00190 |  |
| Pipette - 10 µL | C006992852 |  |
| Picofuge | NA | Master Mix Room |
| PCR Cabinets | 419000002856 |  |
| 4°C Fridges | 410000006285 |  |
| -20°C Freezers | 410000025985 |  |
| Pipette - 1000 µL | KJ09437 |  |
| Pipette - 200 µL | C006993455 |  |
| Pipette - 20 µL | HH93920 |  |
| Pipette - 10 µL | KJ08190 |  |

3.3	Consumables

## 3.4 	REAGENTS

[Specify every reagent to be used in the course of this study. Project Leader has the responsibility 				to ensure that all information filled within this table is accurate.]

The following table below (Table <X>) documents the reagents that will be used for <insert 				study name> experimental runs.

Table X: Reagents to be used for <insert study name>

| Reagent | Supplier | Catalog No. | Date of Expiry /Manufacture |
| --- | --- | --- | --- |
| E Lysis Buffer | CGD | N/A | DOM: |
| 1x PBS | Gibco | 70013-032 | DOE: |
| A1 Elution buffer | CGD | N/A | DOM: |
| Legionella PCR Kit | CGD | N/A | N/A |
| Nuclease - Free Water | QIAGEN | 163041698 | N/A |

### 3.3.2	SAMPLES

[Define the type of sample to be used in the course of this study. If Clinical samples will be used, 				insert a table with sample details i.e. Sample Name/ID/Type and any other information as 				required for this project.]

| No. | Sample | Expected Result | Concentration |
| --- | --- | --- | --- |
| 1 | Matrix Male Toilet | Positive |  |

### 3.3.3	REFERENCE MATERIALS

[State if any reference material would be used in the course of this study.]

# 4.0

# RAW DATA

[To indicate run files details and attach Raw data to document.]

# 5.0	RESULT ANALYSIS AND DISCUSSION

[Present a description of results and discussion. Attach raw data to the technical report. Should there be any change and/or deviation in the course of the project, it must be documented. Deviation reports shall be attached to the technical report as well.]

The water samples used are taken from different time points and will therefore differ in results as the amount of legionella present varies. However, the results above will show that extracting using 50ml

Replicated analyses shall be carried to ascertain the repeatability of analysis.

Inclusion of a control sample in subsequent analyses will serve to check for

deviations from the established method.

# 6.0	CONCLUSION

[Define and present conclusions from work performed in a precise and unambiguous term.]

# 7.0	DEVIATION HANDLING

[Provide deviation justifications and root cause; Attach Deviation report to this document]

# 8.0	APPENDIX

[Include Appendix where applicable]