## Extraction Method
Extraction Experiment information
Detection: Process collaborator's samples to detect any pathogen
Direct Extraction Details for DH5a Bacteria
Elysis |  | Steps | Conditions Used
| 1 | Add 100 volume of sample into a 1.5 mL tube | N/A
| 2 | Add 500ul Elysis buffer | N/A
| 3 | Vortex for 10seconds and spin down, before heating the tube at 80deg for 10mins | N/A
| 4 | Centrifuge solution at 15000RPM for 10mins | N/A
| 5 | Remove supernatant and add 150ul Elution buffer | N/A
Filtration method Extraction Details: MF ¦ Metal Filtration System
Elysis |  | Steps | Conditions Used
| 0 | Membrane selected | CNCA membrane
| 1 | Filter an appropriate volume of water sample using Metal Filtration System. | 300ml
| 2 | Place membrane in 5ml Tube with 1ml Diluent and vortex for 1min | 1 mL PBS
| 3 | Short Spin using the centrifuge (~2000rpm) | N/A
| 4 | Transfer solution to 1.5ml microcentrifuge tube & centrifuge at 8000rpm for 5mins | N/A
| 5 | Supernatant is removed until ~100ul remains. Add 700ul Elysis buffer | N/A
| 6 | Vortex for 10seconds and heat tube at 80deg for 10mins | N/A
| 7 | Centrifuge solution at 15000RPM for 10mins | N/A
| 8 | Remove supernatant and add 150ul Elution buffer | N/A

## Reaction Set-up
Project ID: | Jaipur
Experiment Title: | 20221006 Run 1 17 Marina Samples
Experiment Aim: | Detection: Process collaborator's samples to detect any pathogen
Date: | 2022-10-06
Operator: | Ken & Nathalie
Link:
Equipment
Description | Asset Number (Internal) | Asset Number (GIS / Serial Number) | Maintenance Due Date | Location
-20°C Freezer | 20FR-MM-1 | 9020026 | 2023-02-17 | Master Mix Room (MM)
4°C Refrigerator | 4FRG-MM-1 | 13030253 | 2023-05-04
Pipette - 1000 µL | P1000-MM-2 | KJ09437 | 2022-12-08
Pipette - 200 µL | P200-MM-2 | C006993455 | 2023-05-23
Pipette - 20 uL | P20-MM-2 | HH93920 | 2022-12-09
Pipette - 10 uL | P10-MM-2 | KJ08190 | 2022-12-08
Pipette - 2 uL | P2-MM-2 | KH43912 | 2022-12-09
Pipette - 1000 µL | P1000-TA-4 | C006992352 | 2023-05-23 | Template Addition Room (TA)
Pipette - 200 uL | P200-TA-4 | C006993052 | 2023-05-23
Pipette - 20 uL | P20-TA-4 | OZ00190 | 2023-05-23
Pipette - 10 uL | P10-TA-4 | C006992852 | 2023-05-23
Real-Time PCR System, Rotor-Gene Q 5 Plex HRM System | CFX 96 (IVD) | BR101990 | 2022-06-02 | Instrument Room
Microplate Centrifuge | SP-BIO-NPC-1 | TT-E14-1132 | NA
Reagents
Description | Vendor | Catalog Number | Lot Number | Date of Expiry /Manufacture
Leg_mipT1_F26 | IDT | N/A | 105977862 | 2022-03-10
Leg_mipT1_R23 | IDT | N/A | 105977863 | 2022-03-10
Leg_mip_P1_FAM | IDT | N/A | 105995262 | 2022-03-14
Legio_16s_F35 | IDT | N/A | 105954788 | 2022-03-03
Legio_16s_R23 | IDT | N/A | 105848683 | 2022-02-11
Legio_16s_R24 | IDT | N/A | 105848684 | 2022-02-11
Leg_16S-P2 HEX | IDT | N/A | 105976752 | 2022-03-14
Leg_wzm_F4 | IDT | N/A | 105845947 | 2022-02-10
Leg_wzm_R9 | IDT | N/A | 105845962 | 2022-02-10
Leg_wzm_P2-TX | IDT | N/A | 106374997 | 2022-06-22
2x SensiFAST Probe No ROX Mix | MERIDIAN | NA | SF593-B092150 | DOE: MAR 2023
Nuclease Free Water | QIAGEN | 163041698 | 1039498 | NA
UidA-F4 | IDT | NA | 106156521 | 2022-04-22
UidA-R2 | IDT | NA | 106156525 | 2022-04-22
UidA-P1 FAM | IDT | NA | 106292280 | 2022-05-12
Samples
Description | Vendor | Catalog Number | Lot Number | Date of Expiry /Manufacture
Legionella Pneumophila S14 100kx | ATCC | 43703 | 70036189 | 2022-01-20
Legionella Pneumophila S1e2 | ATCC | 33152DQ | 70036289 | 2022-03-08
Consumables
Description | Vendor | Catalog Number
Pipette Tips - 1000 µL | Axygen | TF-1000-L-R-S
Pipette Tips - 200 µL |  | TF-200-L-R-S
Pipette Tips - 20 µL |  | TF-20-L-R-S
Pipette Tips - 10 µL | Axygen | TF-300-L-R-S
Microtubes, 1.5 mL |  | MCT-150-C
Microtubes, 2.0 mL |  | MCT-200-C
Hard-Shell 96-Well PCR Plates, Low Profile, Thin Wall, Skirted, White/Clear | Bio-Rad | HSP9601
Microseal 'B' seal; Seal | Bio-Rad | MSB1001
Master Mix Room
Primer dilution
Reagents | Stock (uM) | Final (uM) | Dilution Factor | Amount of Primer | Amount of Water/TE | Final Volume (ul)
Primers | 100 | 10 | 10 | 10 | 90 | #REF!
uidA_F4R2P1 |  |  |  |  | Legionella 3plex: MipT1F26R23P1 16SF45R27P2 WZMF4R9P2
Component |  | Per Reaction (uL) | 44 |  | Component |  | Per Reaction (uL) | 44
2x SensiFAST Probe No ROX Mix |  | 10 | 440 |  | 2x SensiFAST Probe No ROX Mix |  | 10 | 440
UidA_F4 (10uM) |  | 0.5 | 22 |  | Leg_mipT1_F26 (10uM) |  | 0.5 | 22
UidA_R2 (10uM) |  | 0.5 | 22 |  | Leg_mipT1_R23 (10uM) |  | 0.5 | 22
uidA-P1 FAM (10uM) |  | 0.5 | 22 |  | Leg_mipT1_P1_FAM (10uM) |  | 0.5 | 22
H2O |  | 3.5 | 154 |  | Leg_16s (B2)_F45 (10uM) |  | 0.5 | 22
Total |  | 15 | 660 |  | Leg_16s (B2)_R27 (10uM) |  | 0.5 | 22
[5 empty] | Leg_16s (B2)_P2_HEX (10uM) |  | 0.5 | 22
[5 empty] | Leg_wzm_F4 (10uM) |  | 0.625 | 27.5
[5 empty] | Leg_wzm_R9 (10uM) |  | 0.625 | 27.5
[5 empty] | Leg_wzm_P2_TEX (10uM) |  | 0.5 | 22
[5 empty] | H2O |  | 0.25 | 11
[5 empty] | Total |  | 15 | 660
Template Addition Room
Add 5uL extracted samples
- Add 15µL MM + 5uL template into respective wells in accordance to the layout below
Cycling Parameters
Step | Stage | Number of Cycles | Temperature (°C) | Time (Min : Sec) | Acquiring
Hold | PCR Initial Heat Inactivation | 1 | 95 | 2:00 | -
Cycling | Denaturation | 45 | 95 | 5 sec | -
| Annealing + Extension |  | 60 | 30 sec | Acquiring to all channels

## Plate Layout
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | UidA A1 MF CNCA 300ml NC | UidA A1 MF CNCA 300ml Sample 1 | UidA A1 MF CNCA 300ml Sample 2 | UidA A1 MF CNCA 300ml Sample 3 | UidA A1 MF CNCA 300ml Sample 4 | UidA A1 MF CNCA 300ml Sample 5 | UidA A1 MF CNCA 300ml Sample 6 | UidA A1 MF CNCA 300ml Sample 7 | UidA A1 MF CNCA 300ml Sample 8 |  | UidA NTC | UidA NTC
B | UidA A1 MF CNCA 300ml NC | UidA A1 MF CNCA 300ml Sample 1 | UidA A1 MF CNCA 300ml Sample 2 | UidA A1 MF CNCA 300ml Sample 3 | UidA A1 MF CNCA 300ml Sample 4 | UidA A1 MF CNCA 300ml Sample 5 | UidA A1 MF CNCA 300ml Sample 6 | UidA A1 MF CNCA 300ml Sample 7 | UidA A1 MF CNCA 300ml Sample 8 |  | 3Plex A1 MF CNCA NTC | 3Plex A1 MF CNCA NTC
C | UidA A1 MF CNCA 300ml Sample 9 | UidA A1 MF CNCA 300ml Sample 10 | UidA A1 MF CNCA 300ml Sample 11 | UidA A1 MF CNCA 300ml Sample 12 | UidA A1 MF CNCA 300ml Sample 13 | UidA A1 MF CNCA 300ml Sample 14 | UidA A1 MF CNCA 300ml Sample 15 | UidA A1 MF CNCA 300ml Sample 16 | UidA A1 MF CNCA 300ml Sample 17
D | UidA A1 MF CNCA 300ml Sample 9 | UidA A1 MF CNCA 300ml Sample 10 | UidA A1 MF CNCA 300ml Sample 11 | UidA A1 MF CNCA 300ml Sample 12 | UidA A1 MF CNCA 300ml Sample 13 | UidA A1 MF CNCA 300ml Sample 14 | UidA A1 MF CNCA 300ml Sample 15 | UidA A1 MF CNCA 300ml Sample 16 | UidA A1 MF CNCA 300ml Sample 17
E | 3Plex A1 MF CNCA 300ml NC | 3Plex A1 MF CNCA 300ml Sample 1 | 3Plex A1 MF CNCA 300ml Sample 2 | 3Plex A1 MF CNCA 300ml Sample 3 | 3Plex A1 MF CNCA 300ml Sample 4 | 3Plex A1 MF CNCA 300ml Sample 5 | 3Plex A1 MF CNCA 300ml Sample 6 | 3Plex A1 MF CNCA 300ml Sample 7 | 3Plex A1 MF CNCA 300ml Sample 8
F | 3Plex A1 MF CNCA 300ml NC | 3Plex A1 MF CNCA 300ml Sample 1 | 3Plex A1 MF CNCA 300ml Sample 2 | 3Plex A1 MF CNCA 300ml Sample 3 | 3Plex A1 MF CNCA 300ml Sample 4 | 3Plex A1 MF CNCA 300ml Sample 5 | 3Plex A1 MF CNCA 300ml Sample 6 | 3Plex A1 MF CNCA 300ml Sample 7 | 3Plex A1 MF CNCA 300ml Sample 8
G | 3Plex A1 MF CNCA 300ml Sample 9 | 3Plex A1 MF CNCA 300ml Sample 10 | 3Plex A1 MF CNCA 300ml Sample 11 | 3Plex A1 MF CNCA 300ml Sample 12 | 3Plex A1 MF CNCA 300ml Sample 13 | 3Plex A1 MF CNCA 300ml Sample 14 | 3Plex A1 MF CNCA 300ml Sample 15 | 3Plex A1 MF CNCA 300ml Sample 16 | 3Plex A1 MF CNCA 300ml Sample 17 |  | UidA PC | UidA PC
H | 3Plex A1 MF CNCA 300ml Sample 9 | 3Plex A1 MF CNCA 300ml Sample 10 | 3Plex A1 MF CNCA 300ml Sample 11 | 3Plex A1 MF CNCA 300ml Sample 12 | 3Plex A1 MF CNCA 300ml Sample 13 | 3Plex A1 MF CNCA 300ml Sample 14 | 3Plex A1 MF CNCA 300ml Sample 15 | 3Plex A1 MF CNCA 300ml Sample 16 | 3Plex A1 MF CNCA 300ml Sample 17 |  | 3Plex sg1 100kx PC | 3Plex sg1 100kx PC

## Plate Layout (2)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | UidA A1 MF CNCA 300ml NC | UidA A1 MF CNCA 300ml Sample 1 | UidA A1 MF CNCA 300ml Sample 2 | UidA A1 MF CNCA 300ml Sample 3 | UidA A1 MF CNCA 300ml Sample 4 | UidA A1 MF CNCA 300ml Sample 5 | UidA A1 MF CNCA 300ml Sample 6 | UidA A1 MF CNCA 300ml Sample 7 | UidA A1 MF CNCA 300ml Sample 8 |  | UidA NTC | UidA NTC
B | UidA A1 MF CNCA 300ml NC | UidA A1 MF CNCA 300ml Sample 1 | UidA A1 MF CNCA 300ml Sample 2 | UidA A1 MF CNCA 300ml Sample 3 | UidA A1 MF CNCA 300ml Sample 4 | UidA A1 MF CNCA 300ml Sample 5 | UidA A1 MF CNCA 300ml Sample 6 | UidA A1 MF CNCA 300ml Sample 7 | UidA A1 MF CNCA 300ml Sample 8 |  | 3Plex A1 MF CNCA NTC | 3Plex A1 MF CNCA NTC
C | UidA A1 MF CNCA 300ml Sample 9 | UidA A1 MF CNCA 300ml Sample 10 | UidA A1 MF CNCA 300ml Sample 11 | UidA A1 MF CNCA 300ml Sample 12 | UidA A1 MF CNCA 300ml Sample 13 | UidA A1 MF CNCA 300ml Sample 14 | UidA A1 MF CNCA 300ml Sample 15 | UidA A1 MF CNCA 300ml Sample 16 | UidA A1 MF CNCA 300ml Sample 17
D | UidA A1 MF CNCA 300ml Sample 9 | UidA A1 MF CNCA 300ml Sample 10 | UidA A1 MF CNCA 300ml Sample 11 | UidA A1 MF CNCA 300ml Sample 12 | UidA A1 MF CNCA 300ml Sample 13 | UidA A1 MF CNCA 300ml Sample 14 | UidA A1 MF CNCA 300ml Sample 15 | UidA A1 MF CNCA 300ml Sample 16 | UidA A1 MF CNCA 300ml Sample 17
E | 3Plex A1 MF CNCA 300ml NC | 3Plex A1 MF CNCA 300ml Sample 1 | 3Plex A1 MF CNCA 300ml Sample 2 | 3Plex A1 MF CNCA 300ml Sample 3 | 3Plex A1 MF CNCA 300ml Sample 4 | 3Plex A1 MF CNCA 300ml Sample 5 | 3Plex A1 MF CNCA 300ml Sample 6 | 3Plex A1 MF CNCA 300ml Sample 7 | 3Plex A1 MF CNCA 300ml Sample 8
F | 3Plex A1 MF CNCA 300ml NC | 3Plex A1 MF CNCA 300ml Sample 1 | 3Plex A1 MF CNCA 300ml Sample 2 | 3Plex A1 MF CNCA 300ml Sample 3 | 3Plex A1 MF CNCA 300ml Sample 4 | 3Plex A1 MF CNCA 300ml Sample 5 | 3Plex A1 MF CNCA 300ml Sample 6 | 3Plex A1 MF CNCA 300ml Sample 7 | 3Plex A1 MF CNCA 300ml Sample 8
G | 3Plex A1 MF CNCA 300ml Sample 9 | 3Plex A1 MF CNCA 300ml Sample 10 | 3Plex A1 MF CNCA 300ml Sample 11 | 3Plex A1 MF CNCA 300ml Sample 12 | 3Plex A1 MF CNCA 300ml Sample 13 | 3Plex A1 MF CNCA 300ml Sample 14 | 3Plex A1 MF CNCA 300ml Sample 15 | 3Plex A1 MF CNCA 300ml Sample 16 | 3Plex A1 MF CNCA 300ml Sample 17 |  | UidA PC | UidA PC
H | 3Plex A1 MF CNCA 300ml Sample 9 | 3Plex A1 MF CNCA 300ml Sample 10 | 3Plex A1 MF CNCA 300ml Sample 11 | 3Plex A1 MF CNCA 300ml Sample 12 | 3Plex A1 MF CNCA 300ml Sample 13 | 3Plex A1 MF CNCA 300ml Sample 14 | 3Plex A1 MF CNCA 300ml Sample 15 | 3Plex A1 MF CNCA 300ml Sample 16 | 3Plex A1 MF CNCA 300ml Sample 17 |  | 3Plex sg1 100kx PC | 3Plex sg1 100kx PC

## Run Analysis
Project ID: | Jaipur
Experiment Title: | 20221006 Run 1 17 Marina Samples
Experiment Aim: | Detection: Process collaborator's samples to detect any pathogen
Date: | 2022-10-06
Operator: | Ken & Nathalie
Link:
Instrument Information
Description |  | Asset Number (Internal)
Real-Time PCR System, CFX96 Touch |  | CFX-INS-2
Analysis Settings
Target Channel: | FAM, HEX, TEX
Threshold (CFX): | 50
Results and Run Analysis
Raw Amplification Plot (Green (FAM)) |  |  |  |  | Raw Amplification Plot (Yellow (HEX))
Well | Sample | FAM | HEX | Texas Red | Raw Amplification Plot (Red (TEX))
A01 | UidA NC | N/A | N/A | N/A
A02 | UidA Sample 1 | N/A | N/A | N/A
A03 | UidA Sample 2 | N/A | N/A | N/A
A04 | UidA Sample 3 | 40.63 | N/A | N/A
A05 | UidA Sample 4 | N/A | N/A | N/A
A06 | UidA Sample 5 | N/A | N/A | N/A
A07 | UidA Sample 6 | N/A | N/A | N/A
A08 | UidA Sample 7 | N/A | N/A | N/A
A09 | UidA Sample 8 | N/A | N/A | N/A
A11 | UidA NTC | N/A | N/A | N/A
A12 | UidA NTC | N/A | N/A | N/A
B01 | UidA NC | 37.31 | N/A | N/A
B02 | UidA Sample 1 | N/A | N/A | N/A
B03 | UidA Sample 2 | N/A | N/A | N/A
B04 | UidA Sample 3 | 36.92 | N/A | N/A
B05 | UidA Sample 4 | N/A | N/A | N/A
B06 | UidA Sample 5 | N/A | N/A | N/A
B07 | UidA Sample 6 | N/A | N/A | N/A
B08 | UidA Sample 7 | N/A | N/A | N/A
B09 | UidA Sample 8 | N/A | N/A | N/A
B11 | 3Plx NTC | N/A | N/A | N/A
B12 | 3Plx NTC | N/A | N/A | N/A
C01 | UidA Sample 9 | N/A | N/A | N/A
C02 | UidA Sample 10 | N/A | N/A | N/A
C03 | UidA Sample 11 | N/A | N/A | N/A
C04 | UidA Sample 12 | N/A | N/A | N/A
C05 | UidA Sample 13 | N/A | N/A | N/A
C06 | UidA Sample 14 | N/A | N/A | N/A
C07 | UidA Sample 15 | N/A | N/A | N/A
C08 | UidA Sample 16 | N/A | N/A | N/A
C09 | UidA Sample 17 | N/A | N/A | N/A
D01 | UidA Sample 9 | N/A | N/A | N/A
D02 | UidA Sample 10 | N/A | N/A | N/A
D03 | UidA Sample 11 | N/A | N/A | N/A
D04 | UidA Sample 12 | N/A | N/A | N/A
D05 | UidA Sample 13 | N/A | N/A | N/A
D06 | UidA Sample 14 | N/A | N/A | N/A
D07 | UidA Sample 15 | N/A | N/A | N/A
D08 | UidA Sample 16 | N/A | N/A | N/A
D09 | UidA Sample 17 | N/A | N/A | N/A
E01 | 3Plx NC | N/A | N/A | N/A
E02 | 3Plx Sample 1 | N/A | 33.1 | N/A
E03 | 3Plx Sample 2 | 32.54 | 27.69 | 32.6
E04 | 3Plx Sample 3 | 33.39 | 29.25 | 36.04
E05 | 3Plx Sample 4 | 37.23 | 31.53 | N/A
E06 | 3Plx Sample 5 | 34.29 | 29.03 | 36.38
E07 | 3Plx Sample 6 | 33.32 | 29.39 | 34.2
E08 | 3Plx Sample 7 | N/A | 33.65 | N/A
E09 | 3Plx Sample 8 | 34.17 | 30.42 | 37.2
F01 | 3Plx NC | N/A | N/A | N/A
F02 | 3Plx Sample 1 | 36.82 | 32.98 | N/A
F03 | 3Plx Sample 2 | 31.85 | 27.5 | 33.25
F04 | 3Plx Sample 3 | 33.77 | 29.33 | 35.02
F05 | 3Plx Sample 4 | N/A | 31.58 | 36.08
F06 | 3Plx Sample 5 | 34.48 | 28.83 | N/A
F07 | 3Plx Sample 6 | 33.41 | 29.42 | 33.86
F08 | 3Plx Sample 7 | 35.6 | 33.81 | N/A
F09 | 3Plx Sample 8 | 35.08 | 30.51 | 35.05
G01 | 3Plx Sample 9 | 32.9 | 31.13 | 35.33
G02 | 3Plx Sample 10 | 32.88 | 30.17 | 34.91
G03 | 3Plx Sample 11 | 33.01 | 29.08 | 33.7
G04 | 3Plx Sample 12 | 33.84 | 31.18 | 34.32
G05 | 3Plx Sample 13 | 34.58 | 28.89 | 34.49
G06 | 3Plx Sample 14 | 31.1 | 29.1 | 31.97
G07 | 3Plx Sample 15 | 30 | 28.38 | 30.48
G08 | 3Plx Sample 16 | 30.59 | 26.31 | 31.63
G09 | 3Plx Sample 17 | 34.09 | 30.18 | N/A
G11 | UidA PC | 22.34 | N/A | N/A
G12 | UidA PC | 22.45 | N/A | N/A
H01 | 3Plx Sample 9 | 33.92 | 30.74 | 35.92
H02 | 3Plx Sample 10 | 33.72 | 30.18 | 34.49
H03 | 3Plx Sample 11 | 33.83 | 29.29 | 35
H04 | 3Plx Sample 12 | 33.95 | 30.73 | N/A
H05 | 3Plx Sample 13 | 33.37 | 29.07 | 34.31
H06 | 3Plx Sample 14 | 31.2 | 29.3 | 31.51
H07 | 3Plx Sample 15 | 30.3 | 28.38 | 30.73
H08 | 3Plx Sample 16 | 30.5 | 26.43 | 31.52
H09 | 3Plx Sample 17 | 34.73 | 30.28 | 38.21
H11 | 3Plx PC | 24.79 | 24.47 | 25.31
H12 | 3Plx PC | 25 | 24.49 | 25.43

## Sheet2
Well | Sample | FAM | HEX | Texas Red
A01 | UidA NC | N/A | N/A | N/A
A02 | UidA Sample 1 | N/A | N/A | N/A
A03 | UidA Sample 2 | N/A | N/A | N/A
A04 | UidA Sample 3 | 40.63 | N/A | N/A
A05 | UidA Sample 4 | N/A | N/A | N/A
A06 | UidA Sample 5 | N/A | N/A | N/A
A07 | UidA Sample 6 | N/A | N/A | N/A
A08 | UidA Sample 7 | N/A | N/A | N/A
A09 | UidA Sample 8 | N/A | N/A | N/A
A11 | UidA NTC | N/A | N/A | N/A
A12 | UidA NTC | N/A | N/A | N/A
B01 | UidA NC | 37.31 | N/A | N/A
B02 | UidA Sample 1 | N/A | N/A | N/A
B03 | UidA Sample 2 | N/A | N/A | N/A
B04 | UidA Sample 3 | 36.92 | N/A | N/A
B05 | UidA Sample 4 | N/A | N/A | N/A
B06 | UidA Sample 5 | N/A | N/A | N/A
B07 | UidA Sample 6 | N/A | N/A | N/A
B08 | UidA Sample 7 | N/A | N/A | N/A
B09 | UidA Sample 8 | N/A | N/A | N/A
B11 | 3Plx NTC | N/A | N/A | N/A
B12 | 3Plx NTC | N/A | N/A | N/A
C01 | UidA Sample 9 | N/A | N/A | N/A
C02 | UidA Sample 10 | N/A | N/A | N/A
C03 | UidA Sample 11 | N/A | N/A | N/A
C04 | UidA Sample 12 | N/A | N/A | N/A
C05 | UidA Sample 13 | N/A | N/A | N/A
C06 | UidA Sample 14 | N/A | N/A | N/A
C07 | UidA Sample 15 | N/A | N/A | N/A
C08 | UidA Sample 16 | N/A | N/A | N/A
C09 | UidA Sample 17 | N/A | N/A | N/A
D01 | UidA Sample 9 | N/A | N/A | N/A
D02 | UidA Sample 10 | N/A | N/A | N/A
D03 | UidA Sample 11 | N/A | N/A | N/A
D04 | UidA Sample 12 | N/A | N/A | N/A
D05 | UidA Sample 13 | N/A | N/A | N/A
D06 | UidA Sample 14 | N/A | N/A | N/A
D07 | UidA Sample 15 | N/A | N/A | N/A
D08 | UidA Sample 16 | N/A | N/A | N/A
D09 | UidA Sample 17 | N/A | N/A | N/A
E01 | 3Plx NC | N/A | N/A | N/A
E02 | 3Plx Sample 1 | N/A | 33.1 | N/A
E03 | 3Plx Sample 2 | 32.54 | 27.69 | 32.6
E04 | 3Plx Sample 3 | 33.39 | 29.25 | 36.04
E05 | 3Plx Sample 4 | 37.23 | 31.53 | N/A
E06 | 3Plx Sample 5 | 34.29 | 29.03 | 36.38
E07 | 3Plx Sample 6 | 33.32 | 29.39 | 34.2
E08 | 3Plx Sample 7 | N/A | 33.65 | N/A
E09 | 3Plx Sample 8 | 34.17 | 30.42 | 37.2
F01 | 3Plx NC | N/A | N/A | N/A
F02 | 3Plx Sample 1 | 36.82 | 32.98 | N/A
F03 | 3Plx Sample 2 | 31.85 | 27.5 | 33.25
F04 | 3Plx Sample 3 | 33.77 | 29.33 | 35.02
F05 | 3Plx Sample 4 | N/A | 31.58 | 36.08
F06 | 3Plx Sample 5 | 34.48 | 28.83 | N/A
F07 | 3Plx Sample 6 | 33.41 | 29.42 | 33.86
F08 | 3Plx Sample 7 | 35.6 | 33.81 | N/A
F09 | 3Plx Sample 8 | 35.08 | 30.51 | 35.05
G01 | 3Plx Sample 9 | 32.9 | 31.13 | 35.33
G02 | 3Plx Sample 10 | 32.88 | 30.17 | 34.91
G03 | 3Plx Sample 11 | 33.01 | 29.08 | 33.7
G04 | 3Plx Sample 12 | 33.84 | 31.18 | 34.32
G05 | 3Plx Sample 13 | 34.58 | 28.89 | 34.49
G06 | 3Plx Sample 14 | 31.1 | 29.1 | 31.97
G07 | 3Plx Sample 15 | 30 | 28.38 | 30.48
G08 | 3Plx Sample 16 | 30.59 | 26.31 | 31.63
G09 | 3Plx Sample 17 | 34.09 | 30.18 | N/A
G11 | UidA PC | 22.34 | N/A | N/A
G12 | UidA PC | 22.45 | N/A | N/A
H01 | 3Plx Sample 9 | 33.92 | 30.74 | 35.92
H02 | 3Plx Sample 10 | 33.72 | 30.18 | 34.49
H03 | 3Plx Sample 11 | 33.83 | 29.29 | 35
H04 | 3Plx Sample 12 | 33.95 | 30.73 | N/A
H05 | 3Plx Sample 13 | 33.37 | 29.07 | 34.31
H06 | 3Plx Sample 14 | 31.2 | 29.3 | 31.51
H07 | 3Plx Sample 15 | 30.3 | 28.38 | 30.73
H08 | 3Plx Sample 16 | 30.5 | 26.43 | 31.52
H09 | 3Plx Sample 17 | 34.73 | 30.28 | 38.21
H11 | 3Plx PC | 24.79 | 24.47 | 25.31
H12 | 3Plx PC | 25 | 24.49 | 25.43