Primer Screening Progression
Tested with SybrSelect 
UidA

| UidA | F1 | F2 | F3 | F4 | F5 | F6 |
| --- | --- | --- | --- | --- | --- | --- |
| R1 | ** | ** | ** | ** | ** |  |
| R2 | ** | ** | ** | ** | ** |  |
| R3 | ** | ** | ** |  |  |  |
| R4 |  |  |  |  |  |  |
| R5 |  |  |  |  |  |  |
| R6 |  |  |  |  |  |  |
| R7 |  |  |  |  |  |  |

*Green = Tested with SybrSelect

** = Tested with Sensifast
Results (CLEAN): F5R1 (CT: 19.06), F5R2 (CT:18.8)

2UidA
F1-F5 w R1-3

| 2UidA | F1 | F2 | F3 | F4 | F5 |
| --- | --- | --- | --- | --- | --- |
| R1 | ** |  |  |  |  |
| R2 | ** | ** | ** | ** |  |
| R3 | ** | ** | ** |  |  |
| R4 |  |  |  |  |  |
| R5 |  |  |  |  |  |
| R6 |  |  |  |  |  |
| R7 |  |  |  |  |  |

*Green = Tested with SybrSelect

** = Tested with Sensifast
Results (CLEAN): -

Extraction Progression

1. 20220426 
qPCR Run 
(SybrSelect) UidA F2R2 & 2UidA F1R2 assay tested with samples extracted using E LYSIS & QIAmp kit:
Volume of culture tested (ul) : 1000 , 100, 10, 1, 0.1, 0.01,0.001, 0.0001

2. 20220427 
qPCR Run 
(SybrSelect) 2UidA F1R2 assay tested with samples extracted using E LYSIS, E LYSIS + NP40 & QIAmp kit:
Comparing lysis Temperature between Room Temperature, 70oC , 80oC , 90oC

3. 20220428 
qPCR Run 
(SybrSelect) 2UidA F1R2 assay tested with samples extracted using E LYSIS, E LYSIS + NP40 & QIAmp kit:
Comparing lysis Temperature between Room Temperature,  80oC , 90oC

4. 20220429 
qPCR Run – Spiked water sample trial 
10 ul culture into 2ml LB Broth
(SybrSelect) 2UidA F1R2 assay tested with samples extracted using:

| Samples | Extraction |
| --- | --- |
| 100uL Culture | QIAmp E Lysis |
| 10ul Culture + 90ul LB Broth | QIAmp E Lysis |
| 1uL Culture + 99ul LB Broth | QIAmp E Lysis |
| Tested With Syringe + 0.2um Filter |  |
| 100uL Culture + 10ml MiliQ Water | E Lysis in Room Temp 80oC Heated E Lysis |
| 10ul Culture + 90ul LB Broth + 10ml MiliQ Water | E Lysis in Room Temp 80oC Heated E Lysis |
| 1uL Culture + 99ul LB Broth + 10ml MiliQ Water | E Lysis in Room Temp 80oC Heated E Lysis |